## Summary
Make Ready Report Summary
Job Information
Job Name | Unknown Job
Report Created | 2025-05-15 17:04:05
Statistics
Total Poles | 43
Total Connections | 44
Poles with Proposed Attachments | 9
Poles with Proposed Risers | 2
Poles with Proposed Guys | 9
Notes
1. This report was generated from Katapult JSON data
2. Format matches the user-specified Excel format with rows per attacher

## Make Ready Report
Connection ID | Operation Number | Attachment Action: | Pole Owner | Pole # | SCID | Pole Structure | Proposed Riser (Yes/No) | Proposed Guy (Yes/No) | PLA (%) with proposed attachment | Construction Grade of Analysis | Existing Mid-Span Data |  | Make Ready Data | [6 empty] | Movement Information
|  | (I)nstalling (R)emoving (E)xisting | [8 empty] | Height Lowest Com | Height Lowest CPS Electrical | Attacher Name | Existing Height | Proposed Height | Mid-Span Proposed | Ground Clearance | Neutral Height | Primary Height | Move Distance | Direction | Span Sag | Notes
From Pole
[9 empty] | 370858 | N/A
Reference or Other_pole [cardinal direction] to N/A
-OPCjr3oYEEY70EImQWq |  | (I)nstalling | CPS Energy | 370858 |  | 45-2 Southern Pine | NO | YES (1) | 41.95% | C
To Pole
[9 empty] | 370858 | N/A
From Pole
[9 empty] | 379971 | 370858
Reference or Other_pole [cardinal direction] to 370858
-OJ_PU-ftGPy7TovEc5a |  | (I)nstalling | CPS Energy | 379971 |  | 40-4 Southern Pine | NO | NO | 83.34% | D | 19'-4" | 24'-7"
To Pole
[9 empty] | 379971 | 370858
From Pole
[9 empty] | 379966 | 379971
Reference or Other_pole [cardinal direction] to 379971
-OJ_PUnb9V2J9IPn2-Mw |  | (I)nstalling | CPS Energy | 379966 |  | 45-4 | NO | YES (1) | 89.74% |  | 18'-8" | 23'-9"
To Pole
[9 empty] | 379966 | 379971
From Pole
[9 empty] | 373937 | 379966
Reference or Other_pole [cardinal direction] to 379966
-OJ_P_8_5zjTkFGS5bHB |  | (E)xisting | CPS Energy | 373937 |  | 55-3 Southern Pine | NO | YES (1) |  | C | 22'-3" | 31'-3"
To Pole
[9 empty] | 373937 | 379966
From Pole
[9 empty] | 404475 | 373937
Reference or Other_pole [cardinal direction] to 373937
-OJ_PcyptnRey_Z82GXx |  | (E)xisting | CPS Energy | 404475 |  | 55-3 Southern Pine | NO | YES (1) | 78.54% | C | 28'-8" | 36'-5"
To Pole
[9 empty] | 404475 | 373937
From Pole
[9 empty] | N/A | 404475
Reference or Other_pole [cardinal direction] to 404475
-OJ_PfpI089rhm2JQKZ8 |  | (E)xisting |  | N/A |  |  | NO | NO
To Pole
[9 empty] | N/A | 404475
From Pole
[9 empty] | 373935 | 404475
Reference or Other_pole [cardinal direction] to 404475
-OJ_Q5tXST15Fpt06P9Y |  | (E)xisting | CPS Energy | 373935 |  | 45-4 | YES (1) | YES (1) | 80.86% |  | 15'-3" | 30'-10"
To Pole
[9 empty] | 373935 | 404475
From Pole
[9 empty] | 398490 | 373935
Reference or Other_pole [cardinal direction] to 373935
-OJ_Q7NdwR-v3jPk-b_R |  | (I)nstalling | CPS Energy | 398490 |  | 50-1 Southern Pine | NO | NO | 51.03% | B | 17'-5" | 25'-4"
To Pole
[9 empty] | 398490 | 373935
From Pole
[9 empty] | 900997 | 398490
Reference or Other_pole [cardinal direction] to 398490
-OJ_QBhbb_WLtq3Ka9s6 |  | (I)nstalling | CPS Energy | 900997 |  | 45-2 Southern Pine | NO | YES (2) | 64.17% | C | 21'-0" | 26'-5"
To Pole
[9 empty] | 900997 | 398490
From Pole
[9 empty] | N/A | 900997
Reference or Other_pole [cardinal direction] to 900997
-OJ_QCSMyGZH7f6I9o0n |  | (E)xisting |  | N/A |  |  | NO | NO
To Pole
[9 empty] | N/A | 900997
From Pole
[9 empty] | N/A | 900997
Reference or Other_pole [cardinal direction] to 900997
-OJ_QIPHST15Fpt06P9Y |  | (E)xisting |  | N/A |  |  | NO | NO
To Pole
[9 empty] | N/A | 900997
From Pole
[9 empty] | PL404474 | 900997
Reference or Other_pole [cardinal direction] to 900997
-OJ_QKap8_9w_POuOX7d |  | (I)nstalling | CPS Energy | PL404474 |  | 40-3 Southern Pine | NO | NO | 62.45% | C | 19'-6" | 25'-6"
To Pole
[9 empty] | PL404474 | 900997
From Pole
[9 empty] | 401451 | 389359
Reference or Other_pole [cardinal direction] to 389359
-OJxyBFvYWzC2pHGlG4t |  | (E)xisting | CPS Energy | 401451 |  | 40-4 | NO | YES (1) | 95.28% |  | 18'-5" | 25'-6"
To Pole
[9 empty] | 401451 | 389359
From Pole
[9 empty] | 398491 | 401451
Reference or Other_pole [cardinal direction] to 401451
-OJ_QN1_yILRwv5lKaw7 |  | (I)nstalling | CPS Energy | 398491 |  | 45-2 Southern Pine | NO | YES (2) | 61.49% | C | 15'-1" | 24'-8"
To Pole
[9 empty] | 398491 | 401451
From Pole
[9 empty] | 410620 | 398491
Reference or Other_pole [cardinal direction] to 398491
-OJ_QO10emfZauaNUM4I |  | (I)nstalling | CPS Energy | 410620 |  | 40-4 | NO | NO | 82.20% |  | 14'-10" | 25'-8"
To Pole
[9 empty] | 410620 | 398491
From Pole
[9 empty] | N/A | 410620
Reference or Other_pole [cardinal direction] to 410620
-OJ_QOWhqMHh5FyZwRjX |  | (E)xisting |  | N/A |  |  | NO | NO |  |  | 14'-5" | 27'-1"
To Pole
[9 empty] | N/A | 410620
From Pole
[9 empty] | N/A | 398491
Reference or Other_pole [cardinal direction] to 398491
-OJ_Q_30y6ST15Fpt06P |  | (E)xisting |  | N/A |  |  | NO | NO
To Pole
[9 empty] | N/A | 398491
From Pole
[9 empty] | N/A | 398491
Reference or Other_pole [cardinal direction] to 398491
-OJicpxMFYxWgBnSp-u6 |  | (E)xisting |  | N/A |  |  | NO | NO |  |  | 10'-2"
To Pole
[9 empty] | N/A | 398491
From Pole
[9 empty] | N/A | 398491
Reference or Other_pole [cardinal direction] to 398491
-OJidRLmSEKlA8hR3NTs |  | (E)xisting |  | N/A |  |  | NO | NO
To Pole
[9 empty] | N/A | 398491
From Pole
[9 empty] | 389359 | PL404474
Reference or Other_pole [cardinal direction] to PL404474
-OJxyAJpFgj-CaetpYWz |  | (I)nstalling | CPS Energy | 389359 |  | 45-4 Southern Pine | YES (1) | YES (2) | 92.00% | D | 17'-8" | 22'-8"
To Pole
[9 empty] | 389359 | PL404474
From Pole
[9 empty] | N/A | 389359
Reference or Other_pole [cardinal direction] to 389359
-OJif9TaTKzDx4iAqQeV |  | (E)xisting |  | N/A |  |  | NO | NO
To Pole
[9 empty] | N/A | 389359
From Pole
[9 empty] | N/A | 900997
Reference or Other_pole [cardinal direction] to 900997
-OJiwnugdivKBvbKlEws |  | (E)xisting |  | N/A |  |  | NO | NO
To Pole
[9 empty] | N/A | 900997
From Pole
[9 empty] | N/A | 404475
Reference or Other_pole [cardinal direction] to 404475
-OJizUfCbgskwirleI6V |  | (E)xisting |  | N/A |  |  | NO | NO |  |  |  | 29'-5"
To Pole
[9 empty] | N/A | 404475
From Pole
[9 empty] | N/A | 404475
Reference or Other_pole [cardinal direction] to 404475
-OJizVhtXFup-FvgxVDv |  | (E)xisting |  | N/A |  |  | NO | NO |  |  |  | 21'-1"
To Pole
[9 empty] | N/A | 404475
From Pole
[9 empty] | N/A | 404475
Reference or Other_pole [cardinal direction] to 404475
-OJj-3rr4m-8Bk_2D0uu |  | (E)xisting |  | N/A |  |  | NO | NO
To Pole
[9 empty] | N/A | 404475
From Pole
[9 empty] | N/A | 404475
Reference or Other_pole [cardinal direction] to 404475
-OJj-FTw6Wn0_-OfbWAS |  | (E)xisting |  | N/A |  |  | NO | NO
To Pole
[9 empty] | N/A | 404475
From Pole
[9 empty] | PL401450 | 404475
Reference or Other_pole [cardinal direction] to 404475
-OJj-TXvWyjgsyrmLNbC |  | (E)xisting |  | PL401450 |  |  | NO | NO | 91.71%
To Pole
[9 empty] | PL401450 | 404475
From Pole
[9 empty] | N/A | 373937
Reference or Other_pole [cardinal direction] to 373937
-OJj0Ose1XyGGFWMB044 |  | (E)xisting |  | N/A |  |  | NO | NO
To Pole
[9 empty] | N/A | 373937
From Pole
[9 empty] | N/A | 373937
Reference or Other_pole [cardinal direction] to 373937
-OJj1aunXfwu-9jVz-yM |  | (E)xisting |  | N/A |  |  | NO | NO
To Pole
[9 empty] | N/A | 373937
From Pole
[9 empty] | N/A | 373937
Reference or Other_pole [cardinal direction] to 373937
-OJj2DSZYYI4992do4SH |  | (E)xisting |  | N/A |  |  | NO | NO
To Pole
[9 empty] | N/A | 373937
From Pole
[9 empty] | N/A | 373937
Reference or Other_pole [cardinal direction] to 373937
-OJj2q6kUMzRpTvFaeiA |  | (E)xisting |  | N/A |  |  | NO | NO
To Pole
[9 empty] | N/A | 373937
From Pole
[9 empty] | N/A | 370858
Reference or Other_pole [cardinal direction] to 370858
-ONthXX-ClOLypfLM3eG |  | (E)xisting |  | N/A |  |  | NO | NO |  |  | 20'-8" | 26'-5"
To Pole
[9 empty] | N/A | 370858
From Pole
[9 empty] | N/A | 900997
Reference or Other_pole [cardinal direction] to 900997
-OOZIxBTFE8ctJ5d0c0I |  | (E)xisting |  | N/A |  |  | NO | NO
To Pole
[9 empty] | N/A | 900997
From Pole
[9 empty] | N/A | N/A
Reference or Other_pole [cardinal direction] to N/A
-OPGF38Z3hCfh6dScw0O |  | (E)xisting |  | N/A |  |  | NO | NO
To Pole
[9 empty] | N/A | N/A
From Pole
[9 empty] | N/A | 370858
Reference or Other_pole [cardinal direction] to 370858
-OOZNWxAypfLM3eGmttF |  | (E)xisting |  | N/A |  |  | NO | NO
To Pole
[9 empty] | N/A | 370858
From Pole
[9 empty] | N/A | 379966
Reference or Other_pole [cardinal direction] to 379966
-OOZUW2dlELULUqxUfD9 |  | (E)xisting |  | N/A |  |  | NO | NO
To Pole
[9 empty] | N/A | 379966
From Pole
[9 empty] | N/A | 398491
Reference or Other_pole [cardinal direction] to 398491
-OOc-dXKJSvemleqjx1G |  | (E)xisting |  | N/A |  |  | NO | NO
To Pole
[9 empty] | N/A | 398491
From Pole
[9 empty] | N/A | 900997
Reference or Other_pole [cardinal direction] to 900997
-OOc-pwjeqjx1GazxpjG |  | (E)xisting |  | N/A |  |  | NO | NO
To Pole
[9 empty] | N/A | 900997
From Pole
[9 empty] | N/A | 389359
Reference or Other_pole [cardinal direction] to 389359
-OP7d1PFsI90KP-5JyK6 |  | (E)xisting |  | N/A |  |  | NO | NO
To Pole
[9 empty] | N/A | 389359
From Pole
[9 empty] | N/A | N/A
Reference or Other_pole [cardinal direction] to N/A
-OPClUfJOEDoYY5dPYgp |  | (E)xisting |  | N/A |  |  | NO | NO
To Pole
[9 empty] | N/A | N/A
From Pole
[9 empty] | N/A | N/A
Reference or Other_pole [cardinal direction] to N/A
-OPCo_eQjlrp6iqpWvf_ |  | (E)xisting |  | N/A |  |  | NO | NO
To Pole
[9 empty] | N/A | N/A
From Pole
[9 empty] | N/A | 373937
Reference or Other_pole [cardinal direction] to 373937
-OPG6ld8ECwVIVEO3OuE |  | (E)xisting |  | N/A |  |  | NO | NO
To Pole
[9 empty] | N/A | 373937
From Pole
[9 empty] | N/A | N/A
Reference or Other_pole [cardinal direction] to N/A
-OPGEz57QWmw6gwuDYpT |  | (E)xisting |  | N/A |  |  | NO | NO
To Pole
[9 empty] | N/A | N/A